HOFFMANN LABORATORY

Cow Uterine Contraction Analysis

Simple user guide for installing the repository, processing data, and regenerating figures

Repository: github.com/Yashwitha-7/Cow-Uterine-Contractions-Analysis

Audience: Hoffmann Laboratory collaborators

Prepared: August 2026

# 1. What this repository does

The repository provides a local web application for ingesting cow contraction TXT files and optional bolus Excel files, checking data quality, reviewing possible strain-polarity reversals, detecting exploratory contraction candidates, calculating day/night and 24-hour statistics, and generating figures.

Scientific caution: Detected peaks are candidate strain events. They are not confirmed physiological uterine contractions.

# 2. Before you begin

macOS, Linux, or Windows with a terminal application

Git

Python 3.12 recommended

Node.js 20 or later and npm

Raw contraction TXT files and, when available, the bolus Excel file

Data location: Research data are deliberately excluded from GitHub. Obtain the raw data separately from the laboratory shared folder and never commit cow data to the public repository.

# 3. Download the repository

git clone https://github.com/Yashwitha-7/Cow-Uterine-Contractions-Analysis.git cd Cow-Uterine-Contractions-Analysis

# 4. Install the backend

cd backend python3.12 -m venv .venv source .venv/bin/activate pip install --upgrade pip pip install -r requirements.txt

Windows activation command:

.venv\Scripts\activate

# 5. Install the frontend

cd ../frontend npm install

# 6. Start the application

## Terminal 1 — backend

cd Cow-Uterine-Contractions-Analysis/backend source .venv/bin/activate uvicorn app.main:app --reload

## Terminal 2 — frontend

cd Cow-Uterine-Contractions-Analysis/frontend npm run dev

Open the local address displayed by Vite, normally http://localhost:5173. The API documentation is available at http://127.0.0.1:8000/docs.

# 7. Recommended analysis sequence

Open Upload Data. Enter the cow ID and known calving date and time.

Select Contractions TXT files and upload all TXT files for that cow in one batch.

If available, upload one bolus Excel file for the same cow.

Open QC Logs and Data Preview to confirm that files were read correctly.

Open Polarity Review, enter the cow ID, and select Screen polarity.

Review every flagged section using the raw strain, centered strain, movement channels, zero axis, time axis, and 30-minute context.

Choose Keep polarity, Flip section, or Uncertain / exclude for every section.

Use the hourly signal browser to inspect any hour manually.

Open Phase 3 Processing and select Run Reviewed Analysis.

Open Visual Analysis or Downloads to view the saved figures, statistics, and CSV files.

# 8. How to make polarity decisions

| Decision | Use when |
| --- | --- |
| Keep | The flagged interval is consistent with surrounding signal direction. |
| Flip | The complete flagged interval is clearly reversed relative to the surrounding recording. |
| Uncertain / exclude | The signal direction cannot be established confidently. |

Important: Only the reviewed interval is flipped. The 30-minute context is displayed for comparison and is not modified.

# 9. Movement interpretation

The contraction files contain a binary movement flag derived from the accelerometer and gyroscope channels:

0 means no movement detected.

5 means movement detected.

No intermediate values occurred in the available files.

The analysis also calculates acceleration and gyroscope variability independently. A strain peak near device-flagged or calculated movement is labeled movement-associated.

# 10. Where outputs are saved

data/ raw/cow_<id>/contractions/ raw/cow_<id>/bolus/ processed/cow_<id>/ quality_control/ statistics/ figures/ clocklab_exports/ database/hoffmann_lab.db

quality_control contains polarity screening, review manifests, decisions, and archived decisions.

statistics contains day/night CSV files and rhythm-summary JSON files.

figures contains regenerated PNG visualizations.

clocklab_exports contains CSV and AWD-formatted exports.

# 11. Reproducing the existing figures

To reproduce the same figures, collaborators need the same raw files, cow ID, calving timestamp, clock offsets, polarity decisions, software version, and analysis configuration. Recommended sharing package:

Raw contraction and bolus files in the laboratory shared folder

The relevant Git commit identifier

The polarity-decisions CSV

Cow metadata, including calving date and time

The generated statistics, figures, and processed CSV files

Reproducibility: Do not compare regenerated outputs unless the raw files, review decisions, and code version are the same.

# 12. Verification commands

cd backend .venv/bin/python -m pytest tests -q cd ../frontend npm run lint npm run build

# 13. Common problems

| Problem | Recommended action |
| --- | --- |
| No module named app | Run pytest from the backend folder, or use the documented command. |
| API returns Not Found | Confirm the URL begins with /api and that the backend is running. |
| Analysis is locked | Complete all pending polarity decisions first. |
| No figures appear | Run Reviewed Analysis, then reload Visual Analysis or Downloads. |
| Duplicate upload blocked | The cow already has that data type stored. Do not delete data unless the intended dataset is confirmed. |
| Port already in use | Stop the earlier backend or frontend process before starting another. |

# 14. Safe data-handling rules

Do not modify files under data/raw.

Do not upload cow data, the SQLite database, or generated CSVs to the public GitHub repository.

Back up the data folder before resetting or replacing a cow dataset.

Record the code commit used for each sponsor-facing result package.

Describe clean peaks as contraction candidates, not confirmed contractions.